## Slide 1
INFONET Seminar Application Group 2013/08/13
Compressed sensing in photoacoustic tomography
Lihong V. Wang.
Journal of Biomedical Optics 2010
Presenter Pavel Ni
Notes: Good afternoon everyone~
First of all, thank you for attending my MS defense presentation.
My name is Younghak Shin
Im a member of INFONET lab. at GIST
The title of my thesis is this

## Slide 2: Contents
Introduction
Compressive sensing
Results
Conclusion

## Slide 3
Photoacoustic formation sound waves,
following light absorption in a material sample.
For Photoacoustic effect the light intensity
must vary periodically or as a single flash.
The Photoacoustic effect is quantified
by measuring the formed sound.
By processing acquired signal map
of absorbed light can be reconstructed.
Introduction
Pic. 1. Optical modalities compared
to photoacoustic
Tissues are irradiated by a pulsed laser
Absorbed energy converted into heat
Which further converted to thermoelastic expansion
Initial pressure raise then propagates as ultrasonic waves
Laser could be replaced by microwave or RF sources

## Slide 4: Introduction
Unfocused ultrasonic transducer with 512 elements is placed
outside of object
64-channel data acquisition module (DAQ) is used
Pic. 2. Photoacoustic setup
Pic. 3. a) Noninvasive PAT
image of the superficial
layer of a rat brain acquired with the skin and skull
intact
b) Open-skull photograph of
the rat brain surface after PAT

## Slide 5: Compressive sensing
Pressure measurement at detecting aperture
Initial pressure raises distribution
Forward problem which predicts by
Where c-is a speed of sound, is a position of ultrasonic sensor
Velocity potential
(1)
(2)
Inverse problem which reconstruct with
Where , S0 is the detecting aperture, solid-angle weighting factor

## Slide 6: Compressive sensing
x to represent where each element of x is the average value of initial pressure per unit volume
Size of x depends on the field of view (Nx*Ny*Nz)
Vector y is velocity potential measured by all sensors as a function of time
Size of y is the number of detecting positions (L) times the number of
temporal position (M)
Forward problem can be described as
Where is projection matrix
Inverse problem can be written as
Where is reconstructed image
containing Nx*Ny*Nz*L*M
Even for 256x256 image with measurement fro 512 positions, each position has 1024 time points contain 3.4x1010 points (~256 GB)

## Slide 7: Results
Pic. 4. (a) to (d) Images reconstructed using the BP method with 240, 120, 80, and 60 tomographic angles. (e) to (h) Images reconstructed using the CS
method with 240, 120, 80, and 60 tomographic angles. (i) to (l) Images
reconstructed using the traditional iterative reconstruction method with 240, 120, 80, and 60 tomographic angles. (m) Lines extracted from (a), (d), (h), and (l).
(n) Comparison of the mean square errors of the three reconstruction methods.

## Slide 8: Conclusion
They demonstrated the CS method using tissue-mimicking phantom
with 3 human hair crosses with interval 10 mm. Laser pulses 10 Hz.
20 measurements at 240 different angles. Acquisition time was 8 min.
Experiment shows that CS method can efficiently reduce the
undersampling artifacts.
Pic. 5. used PA setup

## Slide 9
Thank you